IMPRES Battery Fleet Management Ordering Guide

Deploying IMPRESTM Battery Fleet Management requires the purchase of:

1. IMPRES Battery Fleet Management Software.

2. Entitlement ID(s),

3. Charger Interface Units,

IMPRES Battery Fleet Management Software

Kit number NNTN7676F, Release 1.5, for North America customers.
IMPRES Battery Fleet Management software is available for download at the location below:

http://www.motorolasolutions.com/Business/US-EN/Business+Product+and+Services/Accessories/Two-Way+Radio+Accessories/Batteries/IMPRES
Software must be installed on all PCs to be included in the IMPRES Battery Fleet Management network. 

Entitlement ID

Kit number HKVN4036A, for North America customers.
Customers requiring full IMPRES Battery Fleet Management capability need to purchase an Entitlement ID.  The customer will be emailed an Entitlement ID that will enable full Fleet Management capability on up to 20 PCs.  Installation on more than 20 PCs will require purchase of additional Entitlement IDs.
Charger Interface Unit (CIU)

Kit number NNTN7677 IMPRES Battery Fleet Management Multi Unit Charger Interface Unit


Compatible with all APX, XTS, HT Professional, MOTOTRBO IMPRES Multi Unit Chargers

Kit number NNTN8045 IMPRES Battery Fleet Management Single Unit Charger Interface Unit


Compatible with all APX, HT Professional, MOTOTRBO IMPRES Single Unit Chargers

Customers will need to purchase one CIU for each IMPRES Charger they want to network into IMPRES Battery Fleet Management. 
The APX Dual Unit Charger and IMPRES Battery Data Readers do not require a CIU and can be networked into IMPRES Battery Fleet Management with a standard USB cable.
Additional Details

Each computer can have up to 25 devices connected to it.  Devices that can be connected are: IMPRES Multi Unit Chargers (APX, XTS, MOTOTRBO or HT Professional), IMPRES Single Unit Chargers (APX, MOTOTRBO or HT Professional), APX Dual Unit Chargers and one IMPRES Battery Data Reader.  Please note that the XTS IMPRES single unit charger is not supported.
A USB hub will be required when the number of devices that need to be connected to a single PC exceeds the available USB ports.

The maximum number of batteries the IMPRES Battery Fleet Management database can accommodate is 25,000.
